Course Syllabus – Thermo-fluid Systems Design (MEng 5372)   		              Program: B.Sc. (Regular)

Instructor: Dawit Mussie, M.Sc. (Office: 314C) – dwtmus@gmail.com		Academic Year: 2019/20

Instructor’s Consultation Hours: Monday (2:30pm to 4:30pm) and Wednesday (9:00am to 12:00pm)

- Introduction

- Air – Duct Systems

  - Introduction

  - Applications

  - What is Duct? (Duct Defined)

  - Duct Classifications

  - Duct Materials

  - Duct Shapes

  - Pressures in Duct

  - Pressure Losses in Ducts

  - Air – Duct Systems Design

  - General Rules for Duct Design

  - Commonly Used Duct Design Methods

  - Performance of Air Duct Systems

  - System Balancing and Optimizations

  - Fans and Fan Laws

  - Interaction Between Fan and Duct System

  - Fan Selection

  - Duct Leakage

  - Duct Work Sectional Losses (Charts)

- Liquid Pumping Systems

  - Pipe Flow Review

  - Laminar and Turbulent Flows

  - Losses (minor and major)

  - Energy Grade Line and Hydraulic Grade Line in Conduit Flow

  - Concept of Equivalent Length

  - Fluid Power Transmission through Pipes

  - Piping Network

  - Water Supply Design for High Rise Buildings

  - Pump Types and Pump Selection

- Design of Heat Exchangers – Kern’s Method

  - Process (Thermal) Design of HEXs

- Application of Heat Exchangers

  - Liquid – Liquid Heat Exchange

  - Liquid – Gas Heat Exchange

  - Gas – Gas Heat Exchange

  - Auxiliaries (Anti – Plugging and Anti Fouling Systems)

- Solar Thermal Systems

  - Solar Water Heating Systems

- Steady State and Transient Models

  - Solar Water Heating Systems

- Steady State and Transient Models

  - Solar Thermal Power Plants

  - Solar Desalination

Text Book:

- André G. McDonald, Hugh L. Magande, Introduction to Thermo – Fluid Systems Design, A John Wiley & Sons, Ltd., Publication, 2012

References:

- Yunus Çengel, Heat and Mass Transfer: A Practical Approach, 3rd Edition, McGraw-Hill, Co., 2007 and White, Fluid Mechanics, 6th Edition, McGraw-Hill, Co., 2008

- Yunus Çengel and John Cimbala, Fluid Mechanics: Fundamentals and Applications, McGraw-Hill, Co., 2006

- Frank Incropera, David Dewitt, Theodore Bergman, Adrienne Lavine, Introduction to Heat Transfer, 5th Edition, John Wiley & Sons, 2007

- Stephen Turns, Thermal-Fluid Sciences: An Integrated Approach, Cambridge University Press, 2006

Assessment:

Project 1  10%

Project 2  10%

Intermediate Exam  30%

Final Exam  50%

Course Requirements: a minimum of 75% attendance during lecture hours, 100% attendance during lab session.